COMPANY NAME Excavation Safety Policy

- Objective

- This Excavation Safety Program has been developed to protect employees from safety hazards that may be encountered during work in trenches and excavations. This program is intended to ensure that:

- Employees who perform work in excavations are aware of their responsibilities and know how to perform the work safely.

- COMPANY NAME has appointed one or more individuals within the company to ensure compliance with the requirements of this program.

- The responsibilities of the owners and workers are clearly detailed.

- All persons involved in excavation and trenching work have received appropriate training in the safe work practices that must be followed when performing this type of work.

### Definitions

Excavation – Any man-made cut, cavity, trench, or depression in an earth surface, formed by earth removal.

Registered professional engineer – A person who is registered as a professional engineer.

Shield (shield system) – A structure that can withstand the forces imposed on it by a cave-in and thereby protect employees with the structure. Shields can be permanent structures or can be designed to be portable and moved along as work progresses. Also known as trench box or trench shield.

Shoring (shoring system) – A structure, such as a metal hydraulic, mechanical, or timber shoring system, that supports the sides of an excavation and is designed to prevent cave-ins.

Sloping (sloping system) – A method of protecting employees from cave-ins by excavating to form sides of an excavation that are inclined away from the excavation to prevent cave-ins. The angle of incline varies with differences in factors, such as the soil type, environmental conditions of exposure, and application of surcharge loads.

Trench (trench excavation) – A narrow excavation (in relation to its length) made below the surface of the ground. In general, the depth is greater than the width, but the width of a trench is not greater than 15 feet. If forms or other structures are installed or constructed in an excavation, so as to reduce the dimension measured from the forms or structure to the side of the excavation to 15 feet or less, the excavation is also considered to be a trench.

Aluminum hydraulic shoring – An engineered shoring system comprising aluminum hydraulic cylinders (crossbraces) used in conjunction with vertical rails (uprights) or horizontal rails (walers). Such a system is designed specifically to support the sidewalls of an excavation and prevent cave-ins.

Benching – A method of protecting employees from cave-ins by excavating the sides of an excavation to form one or a series of horizontal levels or steps, usually with vertical or near-vertical surfaces between levels.

Cave-in – The separation of a mass of soil or rock material from the side of an excavation, or the loss of soil from under a trench shield or support system, and its sudden movement into the excavation, either by falling or sliding, in sufficient quantity so that it could entrap, bury, or otherwise injure and immobilize a person.

Competent person (CP) – One who is capable of identifying existing and predictable hazards in the surroundings or working conditions that are unsanitary, hazardous, or dangerous to employees, and who has authorization to take prompt corrective measures to eliminate them.

- A CP should be able to demonstrate the following:

- Soil analysis.

- Use of protective systems.

- Requirements of OSHA standard 1926 Subpart P.

- A CP must have the ability to detect:

- Hazard-causing conditions that could result in a cave-in.

- Failures in protective systems.

- Hazardous atmospheres.

- Other hazards, including those associated with confined spaces.

*Competent persons must have knowledge and authority to stop work and take prompt corrective measures to eliminate existing and predictable hazards.

Responsibilities

- Management

- Monitor the overall effectiveness of the program.

- Provide atmospheric testing and other needed equipment.

- Provide personal protective equipment (PPE) as needed.

- Provide protective systems as needed.

- Provide training to affected employees and supervisors.

- Provide technical assistance as needed.

- Preview and update the program on at least an annual basis or as needed.

- Competent Person

A competent person will be designated for all excavation projects. CPs will oversee the safety of trenching operations and have the following responsibilities:

- Ensure the policy requirements are being followed.

- Ensure that all employees entering excavations or trenches are properly trained and equipped to perform their duties safely.

- Conduct daily inspections of all excavations at the beginning of each shift and after any hazard-causing occurrence, such as rain or excessive vibration.

- Ensure that all required inspections, tests, and recordkeeping functions have been performed.

- Take prompt corrective measures to eliminate existing and predictable hazards and stop work when required.

Training

COMPANY NAME will ensure that all personnel involved in trenching or excavation work shall be trained in the requirements of this program.

- Training shall be performed before employees are assigned duties in excavations.

- Refresher training will be held on an annual basis and may also be performed when worksite inspections indicate that an employee does not have the necessary knowledge or skills to safely work in or around excavations or when changes to this program are made.

- All training will be documented on a standardized roster.

Excavation Training Will Include:

- The work practices that must be followed during excavating or working in excavations.

- The use of PPE that will typically be required during work in excavations, including but not limited to safety shoes, hard hats, and fall protection devices.

- Procedures to be followed if a hazardous atmosphere exists or could reasonably be expected to develop during work in an excavation.

- The OSHA Excavation Standard, 29 CFR 1926, Subpart P.

- Emergency and nonentry rescue methods and the procedure for calling rescue services.

General Requirements

- All excavations shall be made in accordance with the rules, regulations, requirements, and guidelines set forth in 29 CFR 1926.650, .651, and .652, the Occupational Safety and Health Administration’s (OSHA) standard on Excavations, except where otherwise noted below.

- Prior to excavation, the site shall be thoroughly inspected to determine if special safety measures must be taken.

- Employees are not allowed in the excavation while heavy equipment is digging.

Inspections

The CP must conduct all inspections:

- Daily and before the start of each shift.

- As dictated by the work being done in the trench.

- After every rainstorm.

- After other events that could increase hazards, such as snowstorm, windstorm, thaw, earthquake, dramatic change in weather, etc.

- When fissures, tension cracks, sloughing, undercutting, water seepage, bulging at the bottom, or other similar conditions occur.

- When there is a change in the size, location, or placement of the spoil pile.

- When there is any indication of change or movement in adjacent structures.

A competent person will be on site for all excavation work.

*All inspections will be documented on a standardized form and maintained on file*

Soil Types

Stable Rock – Is natural solid mineral matter that can be excavated with vertical sides and remain intact while exposed. It is usually identified by a rock name, such as granite or sandstone. Determining whether a deposit is of this type may be difficult unless it is known whether cracks exist and whether or not the cracks run into or away from the excavation.

Type A – Are cohesive soils with an unconfined compressive strength of 1.5 tons per square foot (tsf) (144 kPa) or greater. Examples of Type A cohesive soils are often clay, silty clay, sandy clay, clay loam, and in some cases, silty clay loam and sandy clay loam. (No soil is Type A if it is fissured, is subject to vibration of any type, has previously been disturbed, is part of a sloped layered system where the layers dip into the excavation on a slope of 4 horizontal to 1 vertical (4H:1V) or greater, or has seeping water.

Type B – Are cohesive soils with an unconfined compressive strength greater than 0.5 tsf (48 kPa) but less than 1.5 tsf (144 kPa). Examples of other Type B soils are angular gravel; silt; silt loam; previously disturbed soils, unless otherwise classified as Type C; soils that meet the unconfined compressive strength or cementation requirements of Type A soils but are fissured or subject to vibration; dry unstable rock; and layered systems sloping into the trench at a slope less than 4H:1V (only if the material would be classified as a Type B soil).

Type C – (Least stable) are cohesive soils with an unconfined compressive strength of 0.5 tsf (48 kPa) or less. Other Type C soils include granular soils, such as gravel, sand and loamy sand, submerged soil, soil from which water is freely seeping, and submerged rock that is not stable. Also included in this classification is material in a sloped layered system where the layers dip into the excavation or have a slope of four horizontal to one vertical (4H:1V) or greater.

Soil Testing Methods

- Pocket penetrometer

Penetrometers are direct-reading, spring-operated instruments used to determine the unconfined compressive strength of saturated cohesive soils. Once pushed into the soil, an indicator sleeve displays the reading. The instrument is calibrated in either tons per square foot (tsf) or kilograms per square centimeter (kPa). However, penetrometers have error rates in the range of ± 20-40%.

Shearvane (Torvane) – To determine the unconfined compressive strength of the soil with a shearvane, the blades of the vane are pressed into a level section of undisturbed soil, and the torsional knob is slowly turned until soil failure occurs. The direct instrument reading must be multiplied by 2 to provide results in tons per square foot (tsf) or kilograms per square centimeter (kPa).

Thumb penetration test – The thumb penetration procedure involves an attempt to press the thumb firmly into the soil in question. If the thumb makes an indentation in the soil only with great difficulty, the soil is probably Type A. If the thumb penetrates no further than the length of the thumb nail, it is probably Type B soil, and if the thumb penetrates the full length of the thumb, it is Type C soil. The thumb test is subjective and is therefore the least accurate of the three methods.

Dry strength test – Dry soil that crumbles freely or with moderate pressure into individual grains is granular. Dry soil that falls into clumps that subsequently break into smaller clumps (and the smaller clumps can be broken only with difficulty) is probably clay in combination with gravel, sand, or silt. If the soil breaks into clumps that do not break into smaller clumps (and the soil can be broken only with difficulty), the soil is considered unfissured, unless there is visual indication of fissuring.

- Plasticity or wet thread test

This test is conducted by molding a moist sample of the soil into a ball and attempting to roll it into a thin thread approximately 1/8 inch (3 mm) in diameter (thick) by 2 inches (50 mm) in length. The soil sample is held by one end. If the sample does not break or tear, the soil is considered cohesive.

- Visual test

A visual test is a qualitative evaluation of conditions around the site. In a visual test, the entire excavation site is observed, including the soil adjacent to the site and the soil being excavated. If the soil remains in clumps, it is cohesive; if it appears to be coarse-grained sand or gravel, it is considered granular. The evaluator also checks for any signs of vibration.

During a visual test, the evaluator should check for crack-line openings along the failure zone that would indicate tension cracks, look for existing utilities that indicate that the soil has previously been disturbed, and observe the open side of the excavation for indications of layered geologic structuring.

The evaluator should also look for signs of bulging, boiling, or sluffing, as well as for signs of surface water seeping from the sides of the excavation or from the water table. If there is standing water in the cut, the evaluator should check for "quick" conditions. In addition, the area adjacent to the excavation should be checked for signs of foundations or other intrusions into the failure zone, and the evaluator should check for surcharging and the spoil distance from the edge of the excavation.

Employee Protection – Benching, Sloping, Shoring, and Shielding Requirements

- All excavations or trenches 5 feet or greater in depth shall be appropriately shielded, benched, shored, or sloped according to the procedures and requirements set forth in OSHA’s Excavation Standard, 29 CFR 1926.650, .651, and .652.

- Excavations or trenches 20 feet deep or greater must have a protective system designed by a registered professional engineer.

- Sidewalks and pavement shall not be undermined unless a support system or another method of protection is provided to protect employees from their possible collapse.

- Benching

There are two basic types of benching: simple and multiple. The type of soil determines the horizontal-to-vertical ratio of the benched side.

As a rule, the bottom vertical height of the trench must not exceed 4 feet (1.2 m) for the first bench. Subsequent benches may be up to a maximum of 5 feet (1.5 m) vertical in Type A soil and 4 feet (1.2 m) in Type B soil to a total trench depth of 20 feet (6.0 m). All subsequent benches must be below the maximum allowable slope for that soil type. For Type B soil, the trench excavation is permitted in cohesive soil only. Benching is not permitted in type C soil.

- Sloping

Maximum allowable slopes for excavations less than 20 feet based on soil type and angle to the horizontal are as follows:

| Soil Type | Height/Depth Ratio | Slope Angle |
| --- | --- | --- |
| Stable Rock | Vertical | 90 Degrees |
| Type A | ¾: 1 | 53 Degrees |
| Type B | 1: 1 | 45 degrees |
| Type C | 1 ½: 1 | 34 degrees |

- Shoring

- Shoring or shielding is used when the location or depth of the cut makes sloping back to the maximum allowable slope impractical.

- All shoring will be installed from the top down and removed from the bottom up.

- The top of the shoring will be no more than 18 inches below the top of the excavation.

- Shielding

- Trench boxes are different from shoring because instead of shoring up or otherwise supporting the trench face, they are intended primarily to protect workers from cave-ins and similar incidents.

- The excavated area between the outside of the trench box and the face of the trench should be as small as possible. Shields may not be subjected to loads exceeding those that the system was designed to withstand.

- Trench boxes are generally used in open areas, but they also may be used in combination with sloping and benching.

- The box must extend at least 18 inches above the surrounding area if there is sloping toward the excavation. This can be accomplished by providing a benched area adjacent to the box.

- Any modifications to the shields must be approved by the manufacturer.

- Shields may ride 2 feet above the bottom of an excavation, provided they are calculated to support the full depth of the excavation and there is no caving under or behind the shield.

- Workers must enter and leave the shield in a protected manner, such as by a ladder or ramp.

- Workers may not remain in the shield while it is being moved.

Spoil

- Temporary spoil

- Temporary spoil must be placed no closer than 2 feet (0.61 m) from the surface edge of the excavation, measured from the nearest base of the spoil to the cut.

- This distance should not be measured from the crown of the spoil deposit. This distance requirement ensures that loose rock or soil from the temporary spoil will not fall on employees in the trench.

- Spoil should be placed so that it channels rainwater and other runoff water away from the excavation. Spoil should be placed so that it cannot accidentally run, slide, or fall back into the excavation.

- If the 2-foot distance cannot be achieved, the spoil must be retained.

- Permanent spoil

- Permanent spoil should be placed at some distance from the excavation. Permanent spoil is often created where underpasses are built or utilities are buried.

- The improper placement of permanent spoil, i.e., insufficient distance from the working excavation, can cause an excavation to be out of compliance with the horizontal-to-vertical ratio requirement for a particular excavation. This can usually be determined through visual observation.

- Permanent spoil can change undisturbed soil to disturbed soil and dramatically alter slope requirements.

Ingress and Egress

Access to and exit from the trench require the following conditions:

- Trenches 4 feet or more in depth should be provided with a fixed means of egress.

- Spacing between ladders or other means of egress must be such that a worker will not have to travel more than 25 feet laterally to the nearest means of egress.

- Ladders must be secured and extend a minimum of 36 inches (0.9 m) above the landing.

- Metal ladders should be used with caution, particularly when electric utilities are present.

Exposure to Vehicles

Procedures to protect employees from being injured or killed by vehicle traffic include:

- Providing employees with and requiring them to wear warning vests or other suitable garments marked with or made of reflectorized or high-visibility materials.

- Requiring a designated, trained flag person along with signs, signals, and barricades when necessary.

Exposure to Falling Loads

Employees must be protected from loads or objects falling from lifting or digging equipment. Procedures designed to ensure their protection include:

- Employees are not permitted to work under raised loads.

- Employees are required to stand away from equipment that is being loaded or unloaded.

- Equipment operators or truck drivers may stay in their equipment during loading and unloading if the equipment is properly equipped with a cab shield or adequate canopy.

Warning Systems for Mobile Equipment

The following steps should be taken to prevent vehicles from accidentally falling into the trench:

- Barricades must be installed where necessary.

- Hand or mechanical signals must be used as required.

- Stop logs must be installed if there is a danger of vehicles falling into the trench.

- Soil should be graded away from the excavation; this will assist in vehicle control and channeling of runoff water.

Hazardous Atmospheres and Confined Spaces

- Employees shall not be permitted to work in hazardous and/or toxic atmospheres. Such atmospheres include those with:

  - Less than 19.5% or more than 23.5% oxygen.

  - A combustible gas concentration greater than 20% of the lower flammable limit.

  - Concentrations of hazardous substances that exceed those specified in the Threshold Limit Values for Airborne Contaminants established by the ACGIH (American Conference of Governmental Industrial Hygienists).

- All operations involving such atmospheres must be conducted in accordance with OSHA requirements for occupational health and environmental controls (see 29 CFR Part 1926 Subpart D for PPE and  29 CFR Part 1926 Subpart E for lifesaving equipment). Engineering controls (e.g., ventilation) and respiratory protection may be required.

- When testing for atmospheric contaminants, the following should be considered:

  - Testing should be conducted before employees enter the trench and should be done regularly to ensure that the trench remains safe.

  - The frequency of testing should be increased if equipment is operating in the trench.

  - Testing frequency should also be increased if welding, cutting, or burning is done in the trench.

  - Employees required to wear respiratory protection must be trained, fit-tested, and enrolled in a respiratory protection program. Some trenches qualify as confined spaces. When this occurs, compliance with the Confined Space Standard is also required.

Emergency Rescue Equipment

Emergency rescue equipment is required when a hazardous atmosphere exists or can reasonably be expected to exist. Requirements are as follows:

- Respirators must be of the type suitable for the exposure. Employees must be trained in their use, and a respirator program must be instituted.

- Attended (at all times) lifelines must be provided when employees enter bell-bottom pier holes, deep confined spaces, or other similar hazards.

- Employees who enter confined spaces must be trained.

Standing Water and Water Accumulation

Methods for controlling standing water and water accumulation must be provided and should consist of the following if employees are permitted to work in the excavation:

- Use of special support or shield systems approved by a registered professional engineer.

- Water removal equipment, e.g., well pointing, used and monitored by a competent person.

- Safety harnesses and lifelines used in conformance with 29 CFR 1926.104.

- Surface water diverted away from the trench.

- Employees removed from the trench during rainstorms.

- Trenches carefully inspected by a competent person after each rain and before employees are permitted to reenter the trench.